## Crack Width
Crack Width Verification - RC Slab (EN 1992-1-1 7.3.4)
Characteristic crack width for a reinforced concrete slab under quasi-permanent loading.
INPUTS
Name | Value | Unit | Description
b | 1000 | mm | Section width (per metre strip)
h | 300 | mm | Section depth
d | 260 | mm | Effective depth
c_nom | 30 | mm | Nominal concrete cover
phi | 16 | mm | Bar diameter
A_s | 1005 | mm^2 | Tension reinforcement area (5 H16)
M_qp | 45 | kNm | Quasi-permanent bending moment
E_s | 200000 | MPa | Steel modulus of elasticity
E_cm | 33000 | MPa | Concrete secant modulus
f_ct_eff | 2.9 | MPa | Effective concrete tensile strength
k_t | 0.4 | - | Load duration factor (long term)
k_1 | 0.8 | - | Bond factor (high-bond bars)
k_2 | 0.5 | - | Strain distribution factor (bending)
k_3 | 3.4 | - | Code coefficient
k_4 | 0.425 | - | Code coefficient
w_max | 0.3 | mm | Allowable crack width (XC exposure)
CALCULATIONS
Name | Value | Unit | Description
alpha_e |  | - | Modular ratio E_s/E_cm
x |  | mm | Neutral axis depth (cracked section)
z |  | mm | Internal lever arm
sigma_s |  | MPa | Steel stress under quasi-permanent loads
h_c_eff |  | mm | Effective tension zone height
rho_p_eff |  | - | Effective reinforcement ratio
s_r_max |  | mm | Maximum crack spacing
eps_diff |  | - | Mean strain difference (eps_sm - eps_cm)
w_k |  | mm | Characteristic crack width
CHECKS
Expression | Description
w_k <= w_max | Crack width within allowable limit